Parametri generali colonna 0

- gen_settings [1] [0] = sensors number: the number of sensor presents on installation
- gen_settings [2] [0] = tot number of sensor types : the number of sensor types managed by the actual sw version
- gen_settings [3] [0] = Map 1 center Latitude
- gen_settings [4] [0] = Map 1 center Longitude
- gen_settings [5] [0] = Map 1 last rotation
- gen_settings [6] [0] = Map 1 last zoom
- gen_settings [7] [0] = Map 2 center Latitude
- gen_settings [8] [0] = Map 2 center Longitude
- gen_settings [9] [0] = Map 2 last rotation
- gen_settings [10] [0] = Map 2 last zoom

Variabile Allarmi:
- mod_alarm [index] [0] = cumulative
- mod_alarm [index] [1] = soc_high
- mod_alarm [index] [2] = soc_low
- mod_alarm [index] [3] = v1_high
- mod_alarm [index] [4] = v1_low
- mod_alarm [index] [5] = v1_err
- mod_alarm [index] [6 ]= v2_high
- mod_alarm [index] [7] = v2_low
- mod_alarm [index] [8] = v2_err
- mod_alarm [index] [9 ]= v3_high
- mod_alarm [index] [10] = v3_low
- mod_alarm [index] [11] = v3_err
- mod_alarm [index] [12] = test
- mod_alarm [index] [13] = mod_err

campi registrazione: 0 = data e ora:
1. Supercap voltage
2. First value
3. Second value
4. Third value